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ТЕХНІЧНЕ ЗАВДАННЯ / TECHNICAL SPECIFICATIONS

Проект NRC ДНІПРО ЗАПОРІЖЖЯ / NRC Dnipro Zaporizhzhia Project

РЕМОНТНІ РОБОТИ БЛОКІВ НА 5-МУ ПОВЕРСІ ТА ДУШОВИХ КІМНАТ НА 1-МУ ПОВЕРСІ В МТП М. ЗАПОРІЖЖЯ /
REPAIR WORK ON THE UNITS ON THE 5TH FLOOR AND THE SHOWER ROOMS ON THE 1ST FLOOR AT THE ZAPORIZHZHIA INTERNATIONAL TRADE CENTER

	Метою є вибір найкращої пропозиції для подальшого укладення Контракту з переможцем тендеру, який виконуватиме, як Підрядник, роботи (будівельні роботи, включаючи будівельні матеріали) в існуючих будівлях, призначених для проживання внутрішньо переміщених осіб в  Україні. 
Обсяг робіт: 
•	Мобілізація/демобілізація всього обладнання, матеріалів і робочої сили, необхідних для завершення робіт.
•	Усі необхідні тимчасові роботи, необхідні для забезпечення доступу до майданчика, безпечного зберігання матеріалів і забезпечення безпечного виконання робіт.
•	Усі необхідні підготовчі роботи, включаючи повне або часткове видалення існуючих будівельних елементів та обладнання, якщо це необхідно, а також видалення та утилізацію сміття, як зазначено в кошторисі.
•	Усі необхідні роботи, включаючи постачання матеріалів, для полегшення будівельних робіт для будівельних елементів, як зазначено в кошторисі.
•	Усі необхідні роботи, пов’язані з оздобленням будівельних елементів, включаючи, але не обмежуючись, влаштуванням підвісних стель, внутрішнє фарбування, електромонтажні та сантехнічні роботи, як зазначено в кошторисі.
•	Усі необхідні роботи для постачання сантехніки, та інших послуг і матеріалів, як зазначено в кошторисі.
Вважається, що обсяг робіт також включає все, що не вказано тут, але може обґрунтовано вважатися необхідним для завершення робіт. 
Будь-які додаткові/непередбачені роботи мають бути обґрунтовані Підрядником, та погоджені з БФ БО Рокада.  
Відвідування об’єкту: 
БФ БО Рокада може організовувати відвідування місце будівельних робот для учасників тендеру. Учасники тендеру мають за виявленням бажання вивчити об’єкти, які підлягають ремонту, на відповідність вимогам  кошторису, наданим БФ БО Рокада, і зрозуміти поточні умови щодо втручання у об’єкт, щоб надати свою фінансову пропозицію найбільш ефективним способом. 
Фінансову пропозицію слід надавати за принципом «все включено», оскільки весь бюджет має включати всі будівельні послуги та закупівлю будівельних матеріалів та товарів згідно з кошторисом, наданим БО БФ Рокада, включаючи допоміжні витрати (адміністрація, транспортування, доставка матеріалів, розміщення робочих бригад, страхування, амортизація машин і обладнання, тощо). 
Усі матеріали/вироби/роботи мають відповідати українським стандартам для будівельних робіт (ДБН, ДСТУ тощо), відповідати принципу найкращого співвідношення ціни та якості.
	The objective is to select the best proposal for the subsequent conclusion of a contract with the winning bidder, who, as the Contractor, will perform the work (construction work, including construction materials) in existing buildings intended to house internally displaced persons in Ukraine. 
Scope of work: 
•	Mobilization/demobilization of all equipment, materials, and labor required to complete the work.
•	All necessary temporary work required to ensure access to the site, safe storage of materials, and safe performance of the work.
•	All necessary preparatory work, including the complete or partial removal of existing structural elements and equipment, if necessary, as well as the removal and disposal of debris, as specified in the estimate.
•	All necessary work, including the supply of materials, to facilitate construction work on building elements, as specified in the estimate.
•	All necessary work related to the finishing of building elements, including, but not limited to, the installation of suspended ceilings, interior painting, electrical work, and plumbing, as specified in the estimate.
•	All necessary work for the supply of plumbing fixtures and other services and materials, as specified in the estimate.
It is understood that the scope of work also includes anything not specified herein but that may reasonably be deemed necessary for the completion of the work. 
Any additional or unforeseen work must be justified by the Contractor and agreed upon with the Rokada Charitable Foundation.  
Site Visit: 
The Rokada Charitable Foundation may organize site visits for tender participants. Bidders who wish to do so should inspect the sites to be repaired to ensure they meet the requirements of the cost estimate provided by the Rokada Charitable Foundation ( ) and understand the current conditions regarding access to the site in order to submit their financial proposal in the most effective manner. 
The financial proposal should be submitted on an “all-inclusive” basis, as the total budget must cover all construction services and the procurement of construction materials and goods in accordance with the cost estimate provided by the Rokada Charitable Foundation, including ancillary costs (administration, transportation, delivery of materials, accommodation for work crews, insurance, depreciation of machinery and equipment, etc.). 
All materials/products/work must comply with Ukrainian standards for construction work (DBN, DSTU, etc.) and adhere to the principle of the best value for money.
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